## Notes
Tab | Contents
Water Samples | Dilution calculations, methods, raw dD water values, and dD values corrected for dilution.
Dilution metheods:
MQH2O Standard | dD data for 10 runs of the MilliQ water standard created by X. Feng for dilution the +30,000 per mille dD samples

## Water Samples
| VSMOW 2/1R: | 0.00015576 | Intended volumes for dilutions based on estimations of d2H sample and standards | [8 empty] | Actual (measured) masses of sample and standards used for dilution | [7 empty] | dD info from X. Feng Lab, Dartmouth College | [6 empty] | Dilution Corrrections
CH Vial Labes | Vial_label | Sample_name | estimated d2H [permil] sample (undiluted) | estimated F2H [ppm] sample (undiluted) | Amount of sample (µL) | Standard used for dilution | Estimated d2H Standard | estimate F2H [ppm] dilutant | Amount of Standard (mL) | estimated F2H [ppm] sample (diluted) | estimated d2H [permil] sample (diluted) | Ampule of X. Feng's standard used | Empty tube (g) |  | Tube + sample (g) | Tube + sample + std (g) | Actual amount of standard (g) | Actual amount of sample (g) | Notes | Sample ID | Analysis Number | RunDate | dD_SMOW | d 2H/1H Standard Deviation | Comment_SA | Comment | Standard used for dilution | dD of std | mass fraction sample | mass fraction standard | dD_SMOW_corr
| Tristan's samples | [11 empty] | Empty tube (g) | Tube + 3 mls MQ std (g) | Tube + 3 mls MQ std + sample (g) | Tube + 3 mls MQ std + sample + 200mls MQ std water(g)
CU-1 | CU-1 | p35m(-4C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2614 | 35.438 | 35.6568 | 235.8 | 203.3198 | 0.2188 |  | WL-CU-01 | 56565 | 2021-11-19 | -30.0373 | 0.104 |  |  | MQ H2O Standard | -59.586 | 0.001075 | 0.99893 | 27428.1048
CU-2 | CU-2 | p35m(-4C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1727 | 35.0529 | 35.2613 | 219.3 | 186.9189 | 0.2084 |  | WL-CU-02 | 56566 | 2021-11-19 | -27.4917 | 0.144 |  |  | MQ H2O Standard | -59.586 | 0.0011137 | 0.99889 | 28758.6135
CU-3 | CU-3 | p35m(-4C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1718 | 35.2266 | 35.4377 | 232 | 199.6171 | 0.2111 |  | WL-CU-03 | 56567 | 2021-11-19 | -30.9612 | 0.08 |  |  | MQ H2O Standard | -59.586 | 0.0010564 | 0.99894 | 27036.7557
CU-4 | CU-4 | p35m(-4C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1465 | 34.9329 | 35.135 | 243.7 | 211.3514 | 0.2021 |  | WL-CU-04 | 56568 | 2021-11-20 | -33.1241 | 0.042 |  |  | MQ H2O Standard | -59.586 | 0.00095531 | 0.99904 | 27640.0555
CU-5 | CU-5 | p35m(4C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.0915 | 35.2423 | 35.4513 | 252.8 | 220.4995 | 0.209 |  | WL-CU-05 | 56569 | 2021-11-20 | -33.3398 | 0.258 |  |  | MQ H2O Standard | -59.586 | 0.00094695 | 0.99905 | 27656.9831
CU-6 | CU-6 | p35m(4C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3094 | 35.4383 | 35.6443 | 246.7 | 214.1846 | 0.206 |  | WL-CU-06 | 56570 | 2021-11-20 | -32.7245 | 0.221 |  |  | MQ H2O Standard | -59.586 | 0.00096086 | 0.99904 | 27896.0066
CU-7 | CU-7 | p35m(4C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3122 | 35.2313 | 35.4398 | 257.7 | 225.1793 | 0.2085 |  | WL-CU-07 | 56571 | 2021-11-20 | -34.0219 | 0.091 |  |  | MQ H2O Standard | -59.586 | 0.00092507 | 0.99907 | 27575.1687
CU-8 | CU-8 | p35m(4C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3066 | 35.7651 | 35.9737 | 236.1 | 203.5848 | 0.2086 |  | WL-CU-08 | 56572 | 2021-11-20 | -35.9833 | 0.193 |  |  | MQ H2O Standard | -59.586 | 0.0010236 | 0.99898 | 22999.2798
CU-9 | CU-9 | p35m(12C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2949 | 36.0373 | 36.247 | 236.1 | 203.5954 | 0.2097 |  | WL-CU-09 | 56573 | 2021-11-20 | -31.5055 | 0.212 |  |  | MQ H2O Standard | -59.586 | 0.0010289 | 0.99897 | 27231.572
CU-10 | CU-10 | p35m(12C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1084 | 34.9408 | 35.146 | 233 | 200.6864 | 0.2052 |  | WL-CU-10 | 56574 | 2021-11-20 | -37.7422 | 0.09 |  |  | MQ H2O Standard | -59.586 | 0.0010214 | 0.99898 | 21325.5961
CU-11 | CU-11 | p35m(12C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2255 | 35.3514 | 35.555 | 232.3 | 199.8709 | 0.2036 |  | WL-CU-11 | 56581 | 2021-11-20 | -37.5009 | 0.287 |  |  | MQ H2O Standard | -59.586 | 0.0010176 | 0.99898 | 21643.1194
CU-12 | CU-12 | p35m(12C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2725 | 35.2583 | 35.4673 | 234.5 | 202.0185 | 0.209 |  | WL-CU-12 | 56582 | 2021-11-20 | -37.5149 | 0.22 |  |  | MQ H2O Standard | -59.586 | 0.0010335 | 0.99897 | 21296.2698
CU-13 | CU-13 | p54m(-4C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1885 | 35.3247 | 35.5315 | 236.5 | 204.1047 | 0.2068 |  | WL-CU-13 | 56583 | 2021-11-20 | -38.1885 | 0.124 |  |  | MQ H2O Standard | -59.586 | 0.0010122 | 0.99899 | 21080.3932
CU-14 | CU-14 | p54m(-4C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3347 | 35.2832 | 35.4888 | 254.6 | 222.0597 | 0.2056 |  | WL-CU-14 | 56584 | 2021-11-20 | -39.7655 | 0.125 |  |  | MQ H2O Standard | -59.586 | 0.00092502 | 0.99907 | 21367.5171
CU-15 | CU-15 | p54m(-4C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3305 | 35.0193 | 35.224 | 236.2 | 203.6648 | 0.2047 |  | WL-CU-15 | 56585 | 2021-11-20 | -38.0455 | 0.035 |  |  | MQ H2O Standard | -59.586 | 0.0010041 | 0.999 | 21393.5556
CU-16 | CU-16 | p54m(-4C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2959 | 35.306 | 35.5099 | 241.6 | 209.1002 | 0.2039 |  | WL-CU-16 | 56586 | 2021-11-20 | -38.1235 | 0.153 |  |  | MQ H2O Standard | -59.586 | 0.00097418 | 0.99903 | 21971.7281
CU-17 | CU-17 | p54m(4C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1816 | 35.0583 | 35.2666 | 241.4 | 209.0101 | 0.2083 |  | WL-CU-17 | 56587 | 2021-11-20 | -37.9728 | 0.124 |  |  | MQ H2O Standard | -59.586 | 0.00099561 | 0.999 | 21648.914
CU-18 | CU-18 | p54m(4C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2192 | 35.2394 | 35.445 | 235.2 | 202.7752 | 0.2056 |  | WL-CU-18 | 56588 | 2021-11-20 | -37.4542 | 0.149 |  |  | MQ H2O Standard | -59.586 | 0.0010129 | 0.99899 | 21790.248
CU-19 | CU-19 | p54m(4C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1949 | 35.2932 | 35.5003 | 235.1 | 202.698 | 0.2071 |  | WL-CU-19 | 56589 | 2021-11-20 | -31.3164 | 0.267 |  |  | MQ H2O Standard | -59.586 | 0.0010207 | 0.99898 | 27637.4016
CU-20 | CU-20 | p54m(4C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3374 | 36.3336 | 36.5377 | 241.6 | 209.0585 | 0.2041 |  | WL-CU-20 | 56590 | 2021-11-20 | -32.149 | 0.154 |  |  | MQ H2O Standard | -59.586 | 0.00097533 | 0.99902 | 28071.3916
CU-21 | CU-21 | p54m(12C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2191 | 35.091 | 35.2953 | 234 | 201.5766 | 0.2043 |  | WL-CU-21 | 56595 | 2021-11-20 | -30.5482 | 0.104 |  |  | MQ H2O Standard | -59.586 | 0.0010125 | 0.99899 | 28620.1954
CU-22 | CU-22 | p54m(12C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3122 | 36.6759 | 36.8823 | 233.9 | 201.3814 | 0.2064 |  | WL-CU-22 | 56596 | 2021-11-20 | -31.0487 | 0.107 |  |  | MQ H2O Standard | -59.586 | 0.0010239 | 0.99898 | 27812.4094
CU-23 | CU-23 | p54m(12C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2318 | 34.906 | 35.1097 | 233.3 | 200.8645 | 0.2037 |  | WL-CU-23 | 56597 | 2021-11-20 | -31.1875 | 0.133 |  |  | MQ H2O Standard | -59.586 | 0.0010131 | 0.99899 | 27972.0229
CU-24 | CU-24 | p54m(12C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2805 | 35.3153 | 35.5148 | 255.9 | 223.42 | 0.1995 |  | WL-CU-24 | 56598 | 2021-11-20 | -34.5908 | 0.318 |  |  | MQ H2O Standard | -59.586 | 0.00089214 | 0.99911 | 27957.4797
CU-25 | CU-25 | p83m(-4C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 202 | 156.1412 | 2.5759 | MQ H2O Standard | 32.3363 | 35.4012 | 35.6081 | 246.3 | 213.7568 | 0.2069 |  | WL-CU-25 | 56599 | 2021-11-20 | -32.8365 | 0.227 |  |  | MQ H2O Standard | -59.586 | 0.00096699 | 0.99903 | 27603.1902
CU-26 | CU-26 | p83m(-4C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2887 | 34.9984 | 35.2042 | 235.5 | 203.0055 | 0.2058 |  | WL-CU-26 | 56600 | 2021-11-20 | -31.5825 | 0.151 |  |  | MQ H2O Standard | -59.586 | 0.0010127 | 0.99899 | 27591.6298
CU-27 | CU-27 | p83m(-4C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.4103 | 35.553 | 35.7585 | 237.1 | 204.4842 | 0.2055 |  | WL-CU-27 | 56601 | 2021-11-20 | -31.4399 | 0.223 |  |  | MQ H2O Standard | -59.586 | 0.001004 | 0.999 | 27975.5218
CU-28 | CU-28 | p83m(-4C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3325 | 35.4413 | 35.6473 | 256.5 | 223.9615 | 0.206 |  | WL-CU-28 | 56602 | 2021-11-20 | -32.3086 | 0.154 |  |  | MQ H2O Standard | -59.586 | 0.00091896 | 0.99908 | 29623.4966
CU-29 | CU-29 | p83m(4C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1928 | 35.2553 | 35.4603 | 230.1 | 197.7022 | 0.205 |  | WL-CU-29 | 56603 | 2021-11-20 | -28.3815 | 0.203 |  |  | MQ H2O Standard | -59.586 | 0.0010358 | 0.99896 | 30065.2347
CU-30 | CU-30 | p83m(4C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2701 | 35.0879 | 35.2943 | 234.4 | 201.9235 | 0.2064 |  | WL-CU-30 | 56604 | 2021-11-20 | -29.098 | 0.079 |  |  | MQ H2O Standard | -59.586 | 0.0010211 | 0.99898 | 29797.6592
CU-31 | CU-31 | p83m(4C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2314 | 35.0356 | 35.216 | 252.9 | 220.4882 | 0.1804 |  | WL-CU-31 | 56640 | 2021-11-21 | -34.6679 | 0.218 |  |  | MQ H2O Standard | -59.586 | 0.00081752 | 0.99918 | 30420.7454
CU-32 | CU-32 | p83m(4C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2228 | 35.4083 | 35.6147 | 250.1 | 217.6708 | 0.2064 |  | WL-CU-32 | 56645 | 2021-11-21 | -31.1583 | 0.108 |  |  | MQ H2O Standard | -59.586 | 0.00094732 | 0.99905 | 29948.8963
CU-33 | CU-33 | p83m(12C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2707 | 35.2411 | 35.4454 | 243.9 | 211.425 | 0.2043 |  | WL-CU-33 | 56646 | 2021-11-21 | -30.644 | 0.141 |  |  | MQ H2O Standard | -59.586 | 0.00096537 | 0.99903 | 29920.7374
CU-34 | CU-34 | p83m(12C)7d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.2001 | 36.3564 | 36.5565 | 251.4 | 218.9998 | 0.2001 |  | WL-CU-34 | 56647 | 2021-11-21 | -31.4609 | 0.08 |  |  | MQ H2O Standard | -59.586 | 0.00091287 | 0.99909 | 30750.0499
CU-35 | CU-35 | p83m(12C)30d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.262 | 35.2492 | 35.45 | 230.2 | 197.7372 | 0.2008 |  | WL-CU-35 | 56648 | 2021-11-21 | -27.9034 | 0.15 |  |  | MQ H2O Standard | -59.586 | 0.0010145 | 0.99899 | 31171.4459
CU-36 | CU-36 | p83m(12C)180d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.3763 | 35.461 | 35.6661 | 235.6 | 203.0186 | 0.2051 |  | WL-CU-36 | 56649 | 2021-11-21 | -29.0189 | 0.233 |  |  | MQ H2O Standard | -59.586 | 0.0010092 | 0.99899 | 30227.9218
CU-37 | CU-37 | pUS(12C)0d | 63833.18 | 9997.7309 | 200 | MQ H2O | -60 | 146.397 | 200 | 156.2385 | 3.2011 | MQ H2O Standard | 32.1407 | 35.4578 | 35.6589 | 245 | 212.6582 | 0.2011 |  | WL-CU-37 | 56650 | 2021-11-21 | -29.9047 | 0.153 |  |  | MQ H2O Standard | -59.586 | 0.00094476 | 0.99906 | 31357.3407
CU-38 | CU-38 | pUS(12C)7d | 63833.18
CU-39 | CU-39 | pUS(12C)30d | 63833.18
CU-40 | CU-40 | pUS(12C)180d | 63833.18
[8 empty] | Volume of MQ H2O needed (ml) | 7402
Note on D1: to fill out for sample prep
Note on M1: to fill out during actual sample dilution
Note on O3: Carrie Harris: For Tristan's +30,000 per mille samples, we did a 2-step dilution. First, we added 3 mls of a MQ H2O standard to each empty plastic bottle BEFORE adding the sample to be diluted. We did tthis to prevent deuterium from absorbing into the plastic bottles. Then we added 200uL sample. Finally, we added ~200mL of MQ standard. The "actual amount of standard" column (R) reflects both standard additions.

## MQ H2O Standard
Run Name | Sample ID | Analysis Number | RunDate | dD_SMOW | d 2H/1H Standard Deviation | Comment_SA | Comment